Introduction

Since the first Homestake NUSL studies more than a decade ago,  a low background facility for screening and production/storage of radiopure materials was identified as a priority element.  The design of the facility was explored in the NUSL White paper (ref) and was mapped into the infrastructure matrix (ref) during the S1 process, with its own technical chapter of the Deep Science Report (ref). Its importance was reaffirmed during the November 2007 Town Meeting, where the B1 Crosscutting group (represented by ?? physicists from all DUSEL science areas) agreed to submit a single S4 proposal to articulate an integrated program to define necessary technologies and capabilities which must be available when DUSEL starts operations, as well as the R&D program needed to develop technologies providing enhanced sensitivities.  The clear consensus was that DUSEL must have world class facilities capable of providing assay and ultra-clean materials support for the initial suite of science experiments, as well as integration tools to share data, exchange equipment, train personnel, optimize screening throughput (both on-site and off-site),  and foster new collaborations in areas of geology, biology and homeland security.

The breadth of this vision is only possible if low background needs are approached in the context of a cost-effective, shared facility which can satisfy the collective needs of all the relevant experiments, rather than duplicating installations and treating the data as proprietary.  It includes a commitment to free exchange of information and makes use of international ties to strengthen collaborations and share expertise.   Any such facility will require a trained local staff.   The expectation would be that this staff would provide state-of-the-art assay and materials preparation and eventually would also help lead and direct future R&D efforts to develop enhanced sensitivities.

This S4 proposal starts the transition from the current loosely organized community into a cohesive  DUSEL-focused group.  This process can be achieved using a model similar to the European ILIAS JRA-1 organization, which joins institutions and facilities interested in low-level counting and ultra-clean materials in a cooperative manner.  It is clear that for the immediate future, the S4 process is the ideal route to provide resources to help unite and coordinate the separate groups and institutions as the community develops an  integrated program.   It is expected that as part of the early S4 efforts, an open database will be developed which provides Web-based access to information on material radiopurities already assayed, as well as current assay capabilities at other facilities (both above and below ground).  This will define the landscape in which DUSEL will reside and help prioritize and schedule the development of the DUSEL facility. Since the low background facility should be one of the earliest modules at DUSEL, we plan to work closely with the Sanford Lab to leverage existing resources (EPSCoR, State funds, and a possible MRE) such that expertise and screening can be part of the early implementation plan, with capacity ramping up fast enough to keep up with the needs as the first suite of experiments are constructed.   We will bridge the gap between the early S4 efforts and the final DUSEL installation by forming an integrated training and re-allocation plan, whereby distributed sites which are already serving the community (e.g. Kimballton, Soudan, WIPP, Oroville, etc.) act as training centers for the distribution of the craft.

Common technical capabilities identified as needed by the initial suite of experiments anticipated for DUSEL include:

- Gamma screening - HPGe detectors of varying sensitivity and segmentation.  Includes systems at the 300’ level for pre-screening as well as sensitive systems located at the 4850’ level.

- Alpha, Beta, and Rn counting - Both commercial pre-screeners and more sensitive new technology that is currently being developed.  Radon emanation chambers and systems.

- ICP-MS facility - A dedicated ICP-MS machine capable of reaching sensitivities at the sub-microBq/kg level.  Requires ultra-clean reagents and wet-lab facilities.

- NAA and RNAA screening - The ability to facilitate and conduct neutron activation and radiochemistry NAA measurements. The RNAA measurements require wet lab capabilities.

- Large liquid scintillation counter - A longer term facility, providing whole body counting capabilities for large samples or materials.

- Underground storage of ultra-pure materials - Storage at appropriate levels of clean materials such as cryogens, water, noble liquids and gases, copper, lead and germanium.

- Underground ultra-pure material production facilities -  Expected materials include electroformed copper, Kr removal, and potentially Ge crystal growth.  Also includes access to a clean machine shop, and special fabrication tools such as EDM machines and laser welders.

Important R&D activities that were identified during the workshop include enhanced beta screening, capabilities to measure the energy of the ambient neutron background, development of low radiation photodetectors, production of ultra-pure electroformed Cu, enhanced ICP-MS sensitivity, 39Ar removal, and Kr removal.